## INFO
Organic speciation results for submission to MIRAGE database, T0 and T1 sampling sites March 17-30, 2006
INSTRUMENT_INFO:
Fine particulate matter (PM2.5) was collected on quartz fiber filters (90mm, Tissuquartz, Pall Life Sciences) using a high-volume sampler (URG Corp.) at a flow rate of 92 liters per minute. Filters were managed using clean handling techniques. Filters were prebaked at 550C for a minimum of 16 hours and stored in pre-baked aluminum foil inside plastic Petri dishes wrapped with Teflon tape. Sampled filters were spiked with isotopically-labelled internal recovery standard used for quantification. Daytime samples were taken from 6am to 6pm and nighttime samples from 6pm to 6am, local time. For 24 hour samples, equal portions of daytime and nighttime samples were composited together. Filters were then extracted by Soxhlets with methylene chloride and methanol. Aliquots of filter extracts were derivitized using diazomethane to quantify organic acids and N,)-bis(trimethylsilyl)trifluoroacetamide with 1% trimethylchlorosilane to quantify polar compounds such as levoglucosan and cholesterol.
DATA_INFO:
Organic species concentration in ng/m3 was calculated by subtracting the field blank value, multiplying by the final extraction volume, and dividing by the volume of air that passed through the filter. Measurement uncertainty was calculated as the square-root of the sum of the squares of the standard deviation of the blank and twenty-percent of the measurement. The sample corresponding to T0 03/19/06 Night is not available.
Key
BD | Below Detection (not detected, or less than twice the concentration of the blank)
Unc | uncertainty
na | not applicable

## TO SUBMIT
| Start Date/Time (CST) | End Date/Time (CST) | Start Date/Time (CST) | End Date/Time (CST) | Start Date/Time (CST) | End Date/Time (CST) | Start Date/Time (CST) | End Date/Time (CST) | Start Date/Time (CST) | End Date/Time (CST) | Start Date/Time (CST) | End Date/Time (CST) | Start Date/Time (CST) | End Date/Time (CST) | Start Date/Time (CST) | End Date/Time (CST) | Start Date/Time (CST) | End Date/Time (CST) | Start Date/Time (CST) | End Date/Time (CST) | Start Date/Time (CST) | End Date/Time (CST) | Start Date/Time (CST) | End Date/Time (CST) | Start Date/Time (CST) | End Date/Time (CST) | Start Date/Time (CST) | End Date/Time (CST) | Start Date/Time (CST) | End Date/Time (CST) | Start Date/Time (CST) | End Date/Time (CST) | Start Date/Time (CST) | End Date/Time (CST) | Start Date/Time (CST) | End Date/Time (CST) | Start Date/Time (CST) | End Date/Time (CST)
| 03/17/06 6:00 | 03/18/06 6:00 | 03/18/06 6:00 | 03/18/06 18:00 | 03/18/06 18:00 | 03/19/06 6:00 | 03/19/06 6:00 | 03/19/06 18:00 | 03/20/06 6:00 | 03/20/06 18:00 | 03/20/06 18:00 | 03/21/06 6:00 | 03/21/06 6:00 | 03/21/06 18:00 | 03/21/06 18:00 | 03/22/06 6:00 | 03/22/06 6:00 | 03/22/06 18:00 | 03/22/06 18:00 | 03/23/06 6:00 | 03/23/06 6:00 | 03/23/06 18:00 | 03/23/06 18:00 | 03/24/06 6:00 | 03/24/06 6:00 | 03/25/06 6:00 | 03/25/06 6:00 | 03/26/06 6:00 | 03/26/06 6:00 | 03/27/06 6:00 | 03/27/06 6:00 | 03/28/06 6:00 | 03/28/06 6:00 | 03/29/06 6:00 | 03/29/06 6:00 | 03/30/06 6:00 | 03/30/06 6:00 | 2004-01-06 06:00
| TO 03/17/06 24h |  | TO 03/18/06 Day |  | TO 03/18/06 Night |  | TO 03/19/06 Day |  | TO 03/20/06 Day |  | TO 03/20/06 Night |  | TO 03/21/06 Day |  | TO 03/21/06 Night |  | TO 03/22/06 Day |  | TO 03/22/06 Night |  | TO 03/23/06 Day |  | TO 03/23/06 Night |  | TO 03/24/06 24h |  | TO 03/25/06 24h |  | TO 03/26/06 24h |  | TO 03/27/06 24h |  | TO 03/28/06 24h |  | TO 03/29/06 24 h |  | TO 03/30/06 24 h
Compound | Conc | Unc | Conc | Unc | Conc | Unc | Conc | Unc | Conc | Unc | Conc | Unc | Conc | Unc | Conc | Unc | Conc | Unc | Conc | Unc | Conc | Unc | Conc | Unc | Conc | Unc | Conc | Unc | Conc | Unc | Conc | Unc | Conc | Unc | Conc | Unc | Conc | Unc
| ng/m3 | ng/m3 | ng/m3 | ng/m3 | ng/m3 | ng/m3 | ng/m3 | ng/m3 | ng/m3 | ng/m3 | ng/m3 | ng/m3 | ng/m3 | ng/m3 | ng/m3 | ng/m3 | ng/m3 | ng/m3 | ng/m3 | ng/m3 | ng/m3 | ng/m3 | ng/m3 | ng/m3 | ng/m3 | ng/m3 | ng/m3 | ng/m3 | ng/m3 | ng/m3 | ng/m3 | ng/m3 | ng/m3 | ng/m3 | ng/m3 | ng/m3 | ng/m3 | ng/m3
Phenanthrene | 0.21135 | 0.067514 | 0.15097 | 0.0427 | 0.30193 | 0.067514 | 0.21135 | 0.051946 | 0.40761 | 0.093258 | 0.15097 | 0.0427 | 0.39251 | 0.084109 | 0.54348 | 0.11775 | 0.27174 | 0.062172 | 0.21135 | 0.067514 | 0.27174 | 0.078502 | 0.12077 | 0.051946 | 0.18116 | 0.062172 | 0.24155 | 0.072965 | 0.24155 | 0.072965 | 0.15097 | 0.056968 | 0.51329 | 0.12449 | 0.42271 | 0.10701 | 0.48309 | 0.11864
Fluoranthene | 0.42271 | 0.089771 | 0.24155 | 0.056968 | 0.60386 | 0.12449 | 0.48309 | 0.10123 | 0.49819 | 0.10945 | 0.30193 | 0.067514 | 0.4529 | 0.095479 | 0.81522 | 0.16922 | 0.27174 | 0.062172 | 0.42271 | 0.089771 | 0.48309 | 0.10123 | 0.24155 | 0.056968 | 0.36232 | 0.078502 | 0.51329 | 0.10701 | 0.54348 | 0.11281 | 0.27174 | 0.062172 | 0.66425 | 0.13624 | 0.54348 | 0.12449 | 0.72464 | 0.15988
Pyrene | 0.4529 | 0.095479 | 0.24155 | 0.056968 | 0.63406 | 0.13036 | 0.51329 | 0.10701 | 0.49819 | 0.10945 | 0.33213 | 0.072965 | 0.4529 | 0.095479 | 0.95109 | 0.19553 | 0.24155 | 0.056968 | 0.4529 | 0.095479 | 0.60386 | 0.12449 | 0.21135 | 0.051946 | 0.42271 | 0.089771 | 0.54348 | 0.11281 | 0.60386 | 0.12449 | 0.30193 | 0.067514 | 0.78502 | 0.15988 | 0.69444 | 0.14213 | 0.96618 | 0.19558
Benzo(GHI)fluoranthene | 0.39251 | 0.084109 | 0.24155 | 0.056968 | 0.66425 | 0.13624 | 0.60386 | 0.12449 | 0.58877 | 0.12616 | 0.36232 | 0.078502 | 0.48309 | 0.10123 | 0.86051 | 0.17796 | 0.21135 | 0.051946 | 0.33213 | 0.072965 | 0.57367 | 0.11864 | 0.21135 | 0.051946 | 0.33213 | 0.072965 | 0.57367 | 0.11864 | 0.84541 | 0.17176 | 0.39251 | 0.084109 | 0.78502 | 0.15988 | 0.63406 | 0.13036 | 0.84541 | 0.17176
Cyclopenta(cd)pyrene | 0.30193 | 0.067514 | 0.18116 | 0.047163 | 0.63406 | 0.13036 | 0.30193 | 0.067514 | 0.36232 | 0.085453 | 0.18116 | 0.047163 | 0.36232 | 0.078502 | 0.72464 | 0.15184 | 0.18116 | 0.047163 | 0.30193 | 0.067514 | 0.54348 | 0.11281 | 0.21135 | 0.051946 | 0.24155 | 0.056968 | 0.42271 | 0.089771 | 0.63406 | 0.13036 | 0.24155 | 0.056968 | 0.8756 | 0.1777 | 0.78502 | 0.15988 | 1.087 | 0.21948
Benz(a)anthracene | 0.24155 | 0.056968 | 0.21135 | 0.051946 | 0.72464 | 0.14804 | 0.24155 | 0.056968 | 0.36232 | 0.085453 | 0.15097 | 0.0427 | 0.33213 | 0.072965 | 0.54348 | 0.11775 | 0.12077 | 0.038666 | 0.21135 | 0.051946 | 0.42271 | 0.089771 | 0.12077 | 0.038666 | 0.24155 | 0.056968 | 0.42271 | 0.089771 | 0.48309 | 0.10123 | 0.24155 | 0.056968 | 0.4529 | 0.095479 | 0.33213 | 0.072965 | 0.63406 | 0.13036
Chrysene | 0.4529 | 0.095479 | 0.4529 | 0.095479 | 1.6002 | 0.32147 | 0.48309 | 0.10123 | 0.81522 | 0.16922 | 0.48309 | 0.10123 | 0.72464 | 0.14804 | 1.1322 | 0.23093 | 0.24155 | 0.056968 | 0.57367 | 0.11864 | 0.72464 | 0.14804 | 0.24155 | 0.056968 | 0.42271 | 0.089771 | 0.75483 | 0.15396 | 0.78502 | 0.15988 | 0.42271 | 0.089771 | 0.72464 | 0.14804 | 0.66425 | 0.13624 | 0.9058 | 0.18366
Retene | 0.60386 | 0.12449 | 0.8756 | 0.1777 | 1.3285 | 0.26741 | 1.57 | 0.31546 | 2.4909 | 0.50024 | 2.6872 | 0.53829 | 0.33213 | 0.072965 | 4.9366 | 0.98836 | 0.33213 | 0.072965 | 0.69444 | 0.14213 | 0.24155 | 0.056968 | BD | na | 0.15097 | 0.0427 | 0.15097 | 0.0427 | 0.33213 | 0.072965 | 0.09058 | 0.035211 | 0.15097 | 0.0427 | 0.21135 | 0.051946 | 0.15097 | 0.0427
Benzo(b)fluoranthene | 0.36232 | 0.078502 | 0.39251 | 0.084109 | 0.96618 | 0.19558 | 0.33213 | 0.072965 | 0.4529 | 0.10127 | 0.30193 | 0.067514 | 0.4529 | 0.095479 | 0.67935 | 0.14322 | 0.21135 | 0.051946 | 0.48309 | 0.10123 | 0.66425 | 0.13624 | 0.36232 | 0.078502 | 0.39251 | 0.084109 | 0.81522 | 0.16582 | 0.84541 | 0.17176 | 0.36232 | 0.078502 | 0.57367 | 0.11864 | 0.42271 | 0.089771 | 0.78502 | 0.15988
Benzo(k)fluoranthene | 0.30193 | 0.067514 | 0.36232 | 0.078502 | 1.087 | 0.21948 | 0.36232 | 0.078502 | 0.54348 | 0.11775 | 0.30193 | 0.067514 | 0.48309 | 0.10123 | 0.86051 | 0.17796 | 0.18116 | 0.047163 | 0.39251 | 0.084109 | 0.54348 | 0.11281 | 0.24155 | 0.056968 | 0.30193 | 0.067514 | 0.63406 | 0.13036 | 0.63406 | 0.13036 | 0.30193 | 0.067514 | 0.51329 | 0.10701 | 0.33213 | 0.072965 | 0.51329 | 0.10701
Benzo(e)pyrene | 0.39251 | 0.084109 | 0.36232 | 0.078502 | 0.8756 | 0.1777 | 0.42271 | 0.089771 | 0.58877 | 0.12616 | 0.30193 | 0.067514 | 0.48309 | 0.10123 | 0.72464 | 0.15184 | 0.21135 | 0.051946 | 0.4529 | 0.095479 | 0.78502 | 0.15988 | 0.30193 | 0.067514 | 0.39251 | 0.084109 | 0.72464 | 0.14804 | 0.93599 | 0.18962 | 0.36232 | 0.078502 | 0.60386 | 0.12449 | 0.54348 | 0.11281 | 0.9058 | 0.18366
Benzo(a)pyrene | 0.39251 | 0.084109 | 0.39251 | 0.084109 | 1.1473 | 0.23145 | 0.54348 | 0.11281 | 0.49819 | 0.10945 | 0.30193 | 0.067514 | 0.48309 | 0.10123 | 0.86051 | 0.17796 | 0.15097 | 0.0427 | 0.4529 | 0.095479 | 0.63406 | 0.13036 | 0.21135 | 0.051946 | 0.33213 | 0.072965 | 0.54348 | 0.11281 | 0.75483 | 0.15396 | 0.33213 | 0.072965 | 0.60386 | 0.12449 | 0.39251 | 0.084109 | 0.72464 | 0.14804
Indeno(1,2,3-cd)pyrene | 0.30193 | 0.067514 | 0.33213 | 0.072965 | 0.66425 | 0.13624 | 0.33213 | 0.072965 | 0.4529 | 0.10127 | 0.24155 | 0.056968 | 0.39251 | 0.084109 | 0.58877 | 0.12616 | 0.21135 | 0.051946 | 0.42271 | 0.089771 | 0.66425 | 0.13624 | 0.27174 | 0.062172 | 0.36232 | 0.078502 | 0.60386 | 0.12449 | 0.84541 | 0.17176 | 0.27174 | 0.062172 | 0.63406 | 0.13036 | 0.27174 | 0.062172 | 0.39251 | 0.084109
Benzo(GHI)perylene | 0.63406 | 0.13036 | 0.72464 | 0.14804 | 1.3587 | 0.27341 | 0.84541 | 0.17176 | 0.95109 | 0.19553 | 0.54348 | 0.11281 | 0.8756 | 0.1777 | 1.2681 | 0.25764 | 0.39251 | 0.084109 | 0.72464 | 0.14804 | 1.57 | 0.31546 | 0.51329 | 0.10701 | 0.63406 | 0.13036 | 1.1473 | 0.23145 | 2.0229 | 0.40571 | 0.54348 | 0.11281 | 1.3285 | 0.26741 | 1.1171 | 0.22546 | 1.6606 | 0.3335
Dibenz(ah)anthracene | 0.060386 | 0.032519 | 0.09058 | 0.035211 | 0.18116 | 0.047163 | 0.060386 | 0.032519 | 0.13587 | 0.052817 | 0.060386 | 0.032519 | 0.09058 | 0.035211 | 0.18116 | 0.057999 | 0.060386 | 0.032519 | 0.09058 | 0.035211 | 0.09058 | 0.035211 | 0.060386 | 0.032519 | 0.060386 | 0.032519 | 0.12077 | 0.038666 | 0.09058 | 0.035211 | 0.060386 | 0.032519 | 0.12077 | 0.038666 | 0.18116 | 0.047163 | 0.21135 | 0.051946
Coronene | 0.36232 | 0.084109 | 0.39251 | 0.089771 | 0.75483 | 0.15988 | 0.4529 | 0.10123 | 0.54348 | 0.12616 | 0.27174 | 0.067514 | 0.42271 | 0.095479 | 0.72464 | 0.16051 | 0.15097 | 0.047163 | BD | na | 0.8756 | 0.18366 | 0.30193 | 0.072965 | 0.33213 | 0.078502 | 0.72464 | 0.15396 | 1.1171 | 0.23145 | 0.33213 | 0.078502 | 0.84541 | 0.1777 | 0.66425 | 0.14213 | 1.0568 | 0.21948
17A(H)-22,29,30-Trisnorhopane | 0.15097 | 0.0427 | 0.09058 | 0.035211 | 0.21135 | 0.051946 | 0.12077 | 0.038666 | 0.13587 | 0.052817 | 0.060386 | 0.032519 | 0.21135 | 0.051946 | 0.18116 | 0.057999 | 0.060386 | 0.032519 | 0.24155 | 0.056968 | 0.30193 | 0.067514 | 0.12077 | 0.038666 | 0.21135 | 0.051946 | 0.15097 | 0.0427 | 0.30193 | 0.067514 | 0.21135 | 0.051946 | 0.30193 | 0.067514 | 0.18116 | 0.047163 | 0.36232 | 0.078502
17B(H)-21A(H)-30-Norhopane | 0.54348 | 0.11281 | 0.36232 | 0.078502 | 0.96618 | 0.19558 | 0.4529 | 0.095479 | 0.54348 | 0.11775 | 0.27174 | 0.062172 | 0.69444 | 0.14213 | 1.0417 | 0.2132 | 0.30193 | 0.067514 | 0.69444 | 0.14213 | 1.1171 | 0.22546 | 0.42271 | 0.089771 | 0.78502 | 0.15988 | 0.84541 | 0.17176 | 0.9058 | 0.18366 | 0.54348 | 0.11281 | 1.2379 | 0.24942 | 0.8756 | 0.1777 | 1.5097 | 0.30344
17A(H)-21B(H)-Hopane | 0.36232 | 0.078502 | 0.21135 | 0.051946 | 0.57367 | 0.11864 | 0.33213 | 0.072965 | 0.4529 | 0.10127 | 0.15097 | 0.0427 | 0.42271 | 0.089771 | 0.58877 | 0.12616 | 0.15097 | 0.0427 | 0.4529 | 0.095479 | 0.69444 | 0.14213 | 0.27174 | 0.062172 | 0.60386 | 0.12449 | 0.57367 | 0.11864 | 0.51329 | 0.10701 | 0.39251 | 0.084109 | 0.75483 | 0.15396 | 0.54348 | 0.11281 | 0.93599 | 0.18962
22S-Homohopane * | 0.21135 | 0.051946 | 0.12077 | 0.038666 | 0.24155 | 0.056968 | 0.18116 | 0.047163 | 0.18116 | 0.057999 | 0.09058 | 0.035211 | 0.18116 | 0.047163 | 0.4529 | 0.10127 | 0.09058 | 0.035211 | 0.24155 | 0.056968 | 0.36232 | 0.078502 | 0.15097 | 0.0427 | 0.27174 | 0.062172 | 0.24155 | 0.056968 | 0.30193 | 0.067514 | 0.15097 | 0.0427 | 0.42271 | 0.089771 | 0.27174 | 0.062172 | 0.48309 | 0.10123
22R-Homohopane * | 0.09058 | 0.035211 | 0.12077 | 0.038666 | 0.15097 | 0.0427 | 0.15097 | 0.0427 | BD | na | 0.060386 | 0.032519 | 0.18116 | 0.047163 | 0.31703 | 0.07792 | 0.060386 | 0.032519 | 0.15097 | 0.0427 | 0.27174 | 0.062172 | 0.12077 | 0.038666 | 0.21135 | 0.051946 | 0.21135 | 0.051946 | 0.24155 | 0.056968 | 0.15097 | 0.0427 | 0.36232 | 0.078502 | 0.27174 | 0.062172 | 0.39251 | 0.084109
22S-Bishomohopane * | 0.09058 | 0.035211 | 0.060386 | 0.032519 | 0.18116 | 0.047163 | 0.15097 | 0.0427 | BD | na | 0.060386 | 0.032519 | 0.15097 | 0.0427 | 0.18116 | 0.057999 | 0.060386 | 0.032519 | 0.15097 | 0.0427 | 0.21135 | 0.051946 | 0.09058 | 0.035211 | 0.15097 | 0.0427 | 0.15097 | 0.0427 | 0.18116 | 0.047163 | 0.09058 | 0.035211 | 0.24155 | 0.056968 | 0.15097 | 0.0427 | 0.27174 | 0.062172
22R-Bishomohopane * | 0.060386 | 0.032519 | 0.060386 | 0.032519 | 0.12077 | 0.038666 | 0.09058 | 0.035211 | BD | na | 0.060386 | 0.032519 | 0.09058 | 0.035211 | 0.22645 | 0.06405 | 0.060386 | 0.032519 | 0.09058 | 0.035211 | 0.18116 | 0.047163 | 0.09058 | 0.035211 | 0.12077 | 0.038666 | 0.09058 | 0.035211 | 0.12077 | 0.038666 | 0.060386 | 0.032519 | 0.18116 | 0.047163 | 0.15097 | 0.0427 | 0.21135 | 0.051946
ABB-20R-C27-Cholestane | 0.12077 | 0.038666 | BD | na | 0.15097 | 0.0427 | 0.12077 | 0.038666 | 0.18116 | 0.057999 | BD | na | 0.12077 | 0.038666 | 0.22645 | 0.06405 | 0.060386 | 0.032519 | 0.09058 | 0.035211 | 0.18116 | 0.047163 | 0.15097 | 0.0427 | 0.09058 | 0.035211 | 0.18116 | 0.047163 | 0.12077 | 0.038666 | 0.09058 | 0.035211 | 0.15097 | 0.0427 | 0.15097 | 0.0427 | 0.33213 | 0.072965
ABB-20S-C27-Cholestane | 0.12077 | 0.038666 | BD | na | 0.09058 | 0.035211 | BD | na | 0.04529 | 0.046187 | BD | na | 0.030193 | 0.030791 | 0.13587 | 0.052817 | BD | na | 0.12077 | 0.038666 | 0.15097 | 0.0427 | 0.18116 | 0.047163 | 0.12077 | 0.038666 | 0.15097 | 0.0427 | 0.18116 | 0.047163 | 0.060386 | 0.032519 | 0.12077 | 0.038666 | 0.15097 | 0.0427 | 0.36232 | 0.078502
AAA-20S-C27-Cholestane * | 0.12077 | 0.038666 | BD | na | 0.18116 | 0.047163 | 0.12077 | 0.038666 | 0.04529 | 0.046187 | BD | na | 0.12077 | 0.038666 | 0.18116 | 0.057999 | BD | na | 0.12077 | 0.038666 | 0.27174 | 0.062172 | 0.09058 | 0.035211 | 0.09058 | 0.035211 | 0.15097 | 0.0427 | 0.18116 | 0.047163 | 0.09058 | 0.035211 | 0.18116 | 0.047163 | 0.15097 | 0.0427 | 0.24155 | 0.056968
ABB-20R-C28-Ergostane | 0.060386 | 0.032519 | BD | na | 0.060386 | 0.032519 | 0.09058 | 0.035211 | 0.09058 | 0.048779 | BD | na | 0.09058 | 0.035211 | 0.09058 | 0.048779 | 0.030193 | 0.030791 | 0.09058 | 0.035211 | 0.30193 | 0.067514 | 0.09058 | 0.035211 | 0.09058 | 0.035211 | 0.030193 | 0.030791 | 0.12077 | 0.038666 | 0.060386 | 0.032519 | 0.18116 | 0.047163 | 0.060386 | 0.032519 | 0.09058 | 0.035211
ABB-20S-C28-Ergostane * | 0.060386 | 0.032519 | BD | na | 0.12077 | 0.038666 | 0.09058 | 0.035211 | 0.04529 | 0.046187 | BD | na | 0.060386 | 0.032519 | 0.09058 | 0.048779 | 0.030193 | 0.030791 | 0.060386 | 0.032519 | 0.27174 | 0.062172 | 0.060386 | 0.032519 | 0.15097 | 0.0427 | 0.060386 | 0.032519 | 0.060386 | 0.032519 | 0.060386 | 0.032519 | 0.060386 | 0.032519 | BD | na | 0.12077 | 0.038666
ABB-20R-C29-Sitostane | 0.12077 | 0.038666 | 0.060386 | 0.032519 | 0.24155 | 0.056968 | 0.12077 | 0.038666 | 0.18116 | 0.057999 | 0.09058 | 0.035211 | 0.12077 | 0.038666 | 0.13587 | 0.052817 | 0.15097 | 0.0427 | 0.15097 | 0.0427 | 0.39251 | 0.084109 | 0.15097 | 0.0427 | 0.27174 | 0.062172 | 0.27174 | 0.062172 | 0.24155 | 0.056968 | 0.15097 | 0.0427 | 0.24155 | 0.056968 | 0.18116 | 0.047163 | 0.72464 | 0.14804
ABB-20S-C29-Sitostane * | 0.09058 | 0.035211 | 0.09058 | 0.035211 | 0.15097 | 0.0427 | 0.12077 | 0.038666 | 0.27174 | 0.070745 | 0.030193 | 0.030791 | 0.12077 | 0.038666 | 0.18116 | 0.057999 | 0.030193 | 0.030791 | 0.09058 | 0.035211 | 0.39251 | 0.084109 | 0.15097 | 0.0427 | 0.21135 | 0.051946 | 0.18116 | 0.047163 | 0.21135 | 0.051946 | 0.12077 | 0.038666 | 0.39251 | 0.084109 | 0.18116 | 0.047163 | 0.60386 | 0.12449
Heptadecane | 0.9058 | 0.39046 | BD | na | 0.8756 | 0.41854 | 0.99638 | 0.43562 | 0.95109 | 0.57999 | BD | na | 0.81522 | 0.41027 | 1.6757 | 0.68001 | BD | na | 0.8756 | 0.38666 | 0.66425 | 0.36176 | 0.78502 | 0.37561 | 0.9058 | 0.39046 | 0.57367 | 0.35211 | 0.93599 | 0.39432 | 0.72464 | 0.36856 | 1.4795 | 0.47163 | 1.2379 | 0.39046 | 1.721 | 0.45786
Pristane | BD | na | BD | na | 0.33213 | 0.30915 | BD | na | BD | na | BD | na | BD | na | BD | na | BD | na | 0.27174 | 0.30678 | 0.21135 | 0.30488 | BD | na | BD | na | BD | na | BD | na | BD | na | BD | na | BD | na | BD | na
Octadecane | 0.99638 | 0.427 | 0.42271 | 0.33235 | 1.4191 | 0.45334 | 2.0531 | 0.55441 | 0.76993 | 0.51047 | BD | na | 0.42271 | 0.33235 | 3.9855 | 0.98848 | 0.63406 | 0.35211 | 1.0568 | 0.43562 | BD | na | 0.54348 | 0.36856 | BD | na | BD | na | BD | na | BD | na | 1.8418 | 0.55948 | 1.6908 | 0.50001 | 1.7512 | 0.50968
Phytane | BD | na | BD | na | BD | na | 1.57 | 0.43562 | BD | na | BD | na | BD | na | 2.1286 | 0.62158 | BD | na | 0.63406 | 0.32748 | BD | na | BD | na | BD | na | BD | na | BD | na | BD | na | BD | na | BD | na | BD | na
Nonadecane | 2.4457 | 0.57481 | 1.2983 | 0.40219 | 3.2911 | 0.72965 | 3.6534 | 0.79619 | 2.2645 | 0.64693 | 1.721 | 0.46242 | 2.1135 | 0.52439 | 5.4348 | 1.1859 | 2.0229 | 0.50968 | 2.5362 | 0.59031 | 1.4191 | 0.41438 | 0.4529 | 0.31523 | 1.6606 | 0.44885 | 0.63406 | 0.32748 | 1.2983 | 0.39823 | 1.1775 | 0.38292 | 2.9891 | 0.66975 | 2.657 | 0.61119 | 3.2609 | 0.71868
Eicosane | 3.5326 | 0.93763 | 0.96618 | 0.44441 | 5.2234 | 1.2156 | 7.6087 | 1.6819 | 3.3514 | 0.98044 | 3.4722 | 0.88067 | 2.8684 | 0.76833 | 9.2391 | 2.0966 | 3.2307 | 0.83545 | 3.6534 | 0.96052 | 1.4795 | 0.56457 | 1.8116 | 0.62172 | 1.8418 | 0.627 | 1.3889 | 0.54935 | 2.9891 | 0.83545 | 1.9022 | 0.63761 | 4.3478 | 1.0932 | 3.8043 | 0.9262 | 5.4046 | 1.2332
Heneicosane | 5.9783 | 1.2742 | 2.1135 | 0.5955 | 6.0688 | 1.3388 | 7.6087 | 1.6403 | 6.7482 | 1.553 | 5.9179 | 1.3094 | 2.8684 | 0.72965 | 11.5036 | 2.4783 | 3.0797 | 0.76833 | 4.5592 | 1.0007 | 1.9324 | 0.52439 | 1.3889 | 0.43999 | 2.4758 | 0.61645 | 1.9928 | 0.53431 | 4.8913 | 1.0643 | 2.657 | 0.64828 | 5.3744 | 1.1572 | 4.7403 | 1.0123 | 6.6123 | 1.3742
Docosane | 7.0048 | 1.8366 | 2.657 | 0.98348 | 7.4275 | 1.9141 | 5.8273 | 1.5988 | 9.7373 | 2.5942 | 5.465 | 1.5277 | 6.1594 | 1.6641 | 12.6812 | 3.1756 | 3.1401 | 1.0758 | 4.4082 | 1.3271 | 2.0833 | 0.88067 | 3.744 | 1.1981 | 2.657 | 0.98923 | BD | na | 7.6389 | 1.9618 | 3.1401 | 1.0816 | 8.8768 | 2.2067 | 5.7971 | 1.5159 | 9.843 | 2.3145
Tricosane | 5.5556 | 1.5514 | 3.2911 | 1.0643 | 7.7295 | 1.932 | 3.1099 | 1.0296 | 7.8804 | 2.1674 | 3.3213 | 1.0701 | 6.3406 | 1.6582 | 12.0924 | 2.9964 | 3.1703 | 1.0411 | 5.163 | 1.4745 | 5.6763 | 1.5751 | 4.6498 | 1.3742 | 2.8684 | 1.0296 | 2.6872 | 0.99499 | 6.3104 | 1.6997 | 3.9855 | 1.2449 | 9.2995 | 2.2905 | 8.1824 | 1.7889 | 11.1715 | 2.3803
Tetracosane | BD | na | 2.8382 | 1.1165 | 9.692 | 2.4642 | BD | na | 7.7899 | 2.3627 | BD | na | 7.1558 | 1.9618 | 12.3641 | 3.2653 | BD | na | BD | na | 10.0242 | 3.359 | BD | na | BD | na | BD | na | BD | na | BD | na | 9.6618 | 3.2868 | 9.3599 | 2.0752 | 17.4215 | 3.6779
Pentacosane | 4.1969 | 1.333 | 2.5362 | 0.89771 | 6.6727 | 1.6997 | BD | na | 6.8388 | 1.9289 | 2.1739 | 0.82983 | 6.9143 | 1.7473 | 13.3605 | 3.2114 | 2.4758 | 0.88635 | 4.9517 | 1.4804 | 10.7186 | 2.6201 | 7.4879 | 1.9797 | 2.7174 | 1.0469 | 3.442 | 1.1864 | 4.9215 | 1.4745 | 3.5628 | 1.2098 | 10.2657 | 2.5302 | 6.7935 | 1.5218 | 13.3152 | 2.8121
Hexacosane | 2.808 | 1.0874 | BD | na | 5.5556 | 1.4508 | BD | na | 4.6649 | 1.4666 | BD | na | 4.0761 | 1.1631 | 9.4203 | 2.3893 | BD | na | 3.6232 | 1.2449 | 7.4879 | 2.0036 | 7.1256 | 1.932 | BD | na | BD | na | 3.4118 | 1.2039 | BD | na | 8.6957 | 2.2426 | 4.9215 | 1.1514 | 10.8394 | 2.3145
Heptacosane | BD | na | 4.1365 | 1.1281 | 9.3297 | 2.1469 | 3.4118 | 0.98923 | 8.3333 | 2.1054 | 4.2572 | 1.1514 | 6.4915 | 1.587 | 15.3986 | 3.4986 | 3.5024 | 1.0065 | 5.6159 | 1.7354 | 6.9746 | 2.0036 | 7.4879 | 2.1051 | BD | na | BD | na | BD | na | BD | na | 7.186 | 2.0454 | 4.8913 | 1.0991 | 9.3599 | 1.9737
Octacosane | BD | na | 2.3249 | 0.73515 | 6.4614 | 1.5277 | 1.2379 | 0.54432 | 5.4801 | 1.4752 | 2.1739 | 0.70773 | 3.9855 | 1.0469 | 9.5562 | 2.2649 | 1.4191 | 0.57481 | 6.0386 | 1.7295 | 6.1292 | 1.7473 | 7.1558 | 1.9498 | BD | na | BD | na | 3.2911 | 1.1922 | BD | na | 7.5785 | 2.0334 | 4.4988 | 1.0643 | 10.4469 | 2.2307
Nonacosane | 5.2838 | 1.7057 | 6.9444 | 1.587 | 14.7041 | 3.1245 | 6.3406 | 1.4686 | 14.6286 | 3.2114 | 7.7597 | 1.7473 | 9.5411 | 2.0991 | 19.5652 | 4.1912 | 5.1027 | 1.2273 | 11.413 | 2.9202 | 8.2729 | 2.2965 | 7.337 | 2.1111 | BD | na | 3.4118 | 1.3388 | 4.4384 | 1.5396 | 3.2307 | 1.3036 | 8.3031 | 2.3025 | 5.9783 | 1.3977 | 11.2017 | 2.4283
Triacontane | BD | na | 2.3249 | 0.74066 | 5.0725 | 1.2625 | 1.4795 | 0.59031 | 3.8949 | 1.1859 | 2.1437 | 0.70773 | 3.5024 | 0.96052 | 6.2953 | 1.6399 | BD | na | 4.4686 | 1.5336 | 4.5592 | 1.5514 | 3.8949 | 1.4213 | BD | na | BD | na | BD | na | BD | na | 5.1027 | 1.6582 | 3.2307 | 0.90909 | 6.1594 | 1.4745
Hentriacontane | 3.6232 | 1.4331 | 5.5857 | 1.3036 | 10.3865 | 2.2486 | 5.1932 | 1.2273 | 9.9638 | 2.2649 | 5.9481 | 1.3742 | 7.6993 | 1.7176 | 12.3188 | 2.7281 | 4.378 | 1.0701 | 9.9034 | 2.6741 | 7.1256 | 2.123 | 4.2271 | 1.5514 | BD | na | BD | na | 4.3176 | 1.5692 | BD | na | 6.8841 | 2.0752 | 4.2874 | 1.1572 | 9.8128 | 2.2426
Dotriacontane | BD | na | 2.9287 | 0.88635 | 3.9553 | 1.0816 | 2.0229 | 0.71868 | 2.7174 | 1.0208 | 2.0531 | 0.72416 | 3.0193 | 0.9034 | 3.2609 | 1.1193 | BD | na | 5.4046 | 1.8009 | 3.7742 | 1.4804 | BD | na | BD | na | BD | na | BD | na | BD | na | BD | na | 1.9022 | 0.76833 | 4.2874 | 1.2215
Tritriacontane | BD | na | 3.0797 | 0.85802 | 5.2536 | 1.2742 | 2.6268 | 0.77389 | 4.6196 | 1.287 | 3.1703 | 0.875 | 4.1667 | 1.0643 | 4.6196 | 1.287 | 1.3587 | 0.54935 | 4.6196 | 1.4508 | 3.6232 | 1.2566 | BD | na | BD | na | BD | na | BD | na | BD | na | 3.3514 | 1.2039 | 2.3551 | 0.72416 | 5.314 | 1.2859
Tetratriacontane | BD | na | 1.872 | 0.627 | 3.4722 | 0.92049 | 2.1739 | 0.68055 | 2.3551 | 0.86222 | 2.2041 | 0.68596 | 3.3213 | 0.89202 | 3.1703 | 1.0046 | 1.2379 | 0.51946 | 4.529 | 1.4981 | 3.1401 | 1.2273 | BD | na | BD | na | BD | na | BD | na | BD | na | BD | na | BD | na | 4.0459 | 1.1398
Pentatriacontane | BD | na | 1.5097 | 0.60072 | 4.2874 | 1.1165 | 1.6304 | 0.62172 | 1.9022 | 0.83922 | 1.4795 | 0.5955 | 2.4457 | 0.76833 | 2.4909 | 0.9405 | 1.2077 | 0.54935 | 6.8237 | 1.7889 | 2.4758 | 0.94334 | BD | na | BD | na | BD | na | BD | na | BD | na | 2.3249 | 0.91479 | BD | na | 4.8611 | 1.2215
Hexatriacontane | BD | na | 1.4795 | 0.52439 | 3.1401 | 0.81859 | 1.7814 | 0.57481 | 2.1286 | 0.77184 | 1.6606 | 0.55441 | 2.1739 | 0.64294 | 1.9928 | 0.75001 | 0.96618 | 0.44441 | 6.3104 | 1.7949 | BD | na | BD | na | BD | na | BD | na | BD | na | BD | na | BD | na | BD | na | 2.7174 | 0.85237
Heptatriacontane | BD | na | 1.6002 | 0.43999 | 2.3853 | 0.56457 | 1.6606 | 0.44885 | 2.038 | 0.60931 | 1.4795 | 0.42275 | 1.9626 | 0.49521 | 2.1286 | 0.62158 | BD | na | 3.2307 | 0.97774 | BD | na | BD | na | BD | na | BD | na | BD | na | BD | na | BD | na | 1.2983 | 0.39823 | 2.3551 | 0.55948
Octatriacontane | BD | na | 1.8418 | 0.47629 | 2.8986 | 0.65363 | 1.9324 | 0.49043 | 2.4909 | 0.67328 | 1.721 | 0.45786 | 2.0833 | 0.51456 | 2.0833 | 0.61541 | BD | na | 4.1667 | 1.2683 | BD | na | BD | na | BD | na | BD | na | BD | na | BD | na | BD | na | 1.6908 | 0.45334 | 2.808 | 0.63761
Nonatriacontane | 1.3587 | 0.40621 | 1.4493 | 0.41854 | BD | na | BD | na | BD | na | 1.3587 | 0.40621 | 1.5399 | 0.43129 | 1.9928 | 0.60329 | BD | na | 3.593 | 0.77945 | 1.8116 | 0.47163 | BD | na | BD | na | BD | na | BD | na | BD | na | 1.9928 | 0.50001 | BD | na | BD | na
Tetracontane | 1.7512 |  | BD |  | BD |  | BD |  | BD |  | 1.6002 |  | 1.8418 |  | BD |  | BD |  | 3.4118 |  | 2.5362 |  | BD |  | BD |  | BD |  | BD |  | BD |  | 2.3551 |  | BD |  | BD
Decanoic acid (M) | BD | na | BD | na | BD | na | 5.4046 | 1.8182 | BD | na | 4.6196 | 1.6709 | 4.1063 | 1.5756 | BD | na | 7.2766 | 2.1749 | 5.2234 | 1.841 | 5.5857 | 1.9096 | 5.8273 | 1.9555 | 3.593 | 1.5367 | BD | na | 4.8913 | 1.7784 | 10.3865 | 2.8368 | 5.314 | 1.8581 | 12.8623 | 3.3816 | BD | na
Dodecanoic acid (M) | 8.5749 | 2.6365 | 4.0761 | 1.598 | 12.1679 | 3.1561 | 11.7452 | 3.0732 | 8.9221 | 2.9246 | 21.2258 | 4.9464 | 12.9227 | 3.3044 | 11.5036 | 3.4193 | BD | na | 14.7343 | 3.846 | 7.6087 | 2.4488 | 7.186 | 2.367 | 6.401 | 2.2155 | BD | na | 11.8056 | 3.2688 | 14.1606 | 3.7327 | 11.0809 | 3.1265 | 13.6775 | 3.2866 | 6.0386 | 1.8068
Tetradecanoic acid (M) | BD | na | 17.7234 | 5.5763 | 16.7874 | 5.3902 | 10.7488 | 4.1923 | BD | na | 36.3829 | 9.295 | 26.8418 | 7.3919 | BD | na | 12.2886 | 4.4972 | 24.0942 | 6.9767 | 25.8756 | 7.3317 | 26.0266 | 7.3618 | 18.5085 | 5.8645 | 11.9263 | 4.5571 | 21.3466 | 6.4294 | 40.2778 | 10.2051 | 16.9988 | 5.5643 | 26.6908 | 7.0729 | 15.5495 | 4.8565
Pentadecanoic acid* | BD | na | 6.401 | 2.3145 | BD | na | BD | na | BD | na | 12.0773 | 3.4232 | 11.413 | 3.2926 | BD | na | 5.163 | 2.0765 | 8.6957 | 2.6071 | 11.8357 | 3.2214 | 9.058 | 2.6777 | 7.7295 | 2.4196 | 4.2572 | 1.7557 | 6.7331 | 2.2271 | 15.5495 | 3.9534 | 4.5894 | 1.8182 | 9.2089 | 2.5836 | 5.8273 | 1.9325
Hexadecanoic acid (M) | 66.8478 | 22.5383 | 76.4795 | 24.953 | 131.4614 | 35.9471 | 48.279 | 19.315 | 95.5616 | 33.5992 | 215.2174 | 52.6967 | 208.5447 | 51.3622 | 125.7246 | 39.6299 | 57.2464 | 21.1077 | 187.3792 | 46.6404 | 183.1824 | 45.8011 | 136.8357 | 36.5328 | 99.0942 | 28.9858 | 98.6111 | 28.8892 | 174.0036 | 43.9655 | 200.0604 | 49.1764 | 159.5713 | 41.0793 | 132.82 | 33.8701 | 150.9058 | 37.4867
Heptadecanoic acid* | 2.657 | 1.119 | 3.4118 | 1.2859 | 5.7971 | 1.7217 | BD | na | 4.846 | 1.881 | 9.5109 | 2.4313 | 7.9106 | 2.1227 | 6.3406 | 2.1478 | 2.5966 | 1.1445 | 6.6123 | 1.8353 | 6.7029 | 1.8524 | 5.4046 | 1.6091 | 4.0459 | 1.3611 | 3.593 | 1.2805 | 6.4915 | 1.8125 | 7.1256 | 1.9325 | 5.465 | 1.6204 | 5.0725 | 1.4813 | 4.8611 | 1.4428
Octadecanoic acid (M) | BD | na | BD | na | 62.4698 | 20.5282 | BD | na | BD | na | 120.4106 | 32.1132 | 93.9614 | 26.8244 | BD | na | BD | na | 87.3188 | 24.8805 | 70.1993 | 21.4578 | 59.5109 | 19.321 | 37.9831 | 15.0182 | 39.9758 | 15.4164 | 87.0471 | 24.8262 | 72.1316 | 21.8441 | 77.3249 | 22.8824 | 48.3092 | 15.9052 | 63.9191 | 19.0253
Nonadecanoic acid* | 1.0266 | 0.68063 | 1.2681 | 0.70422 | 1.8418 | 0.76957 | 0.9058 | 0.66983 | 2.1286 | 1.0803 | 3.6232 | 1.0291 | 2.8382 | 0.90668 | 2.7174 | 1.1488 | 1.0568 | 0.68344 | 2.1739 | 0.81242 | 1.872 | 0.77332 | 1.1473 | 0.6921 | 1.0266 | 0.68063 | 1.0568 | 0.68344 | 1.2681 | 0.70422 | 1.6304 | 0.7441 | 1.0568 | 0.68344 | 1.2983 | 0.70113 | 1.4191 | 0.71371
Pinonic acid (M) | 12.4698 | 2.566 | 5.7065 | 1.2912 | 5.2838 | 1.2171 | 7.0954 | 1.5422 | 11.9565 | 2.5571 | 4.9215 | 1.1548 | 28.1703 | 5.6663 | 2.6721 | 1.0517 | 8.5447 | 1.8125 | 6.3406 | 1.4046 | 6.8539 | 1.4979 | 13.2548 | 2.7189 | 4.3478 | 1.0587 | 3.9553 | 0.9952 | 3.9251 | 0.99041 | 7.1558 | 1.5533 | 9.1787 | 1.9325 | 8.3635 | 1.7784 | 3.6836 | 0.95258
Palmitoleic acid (M) | BD | na | BD | na | BD | na | BD | na | BD | na | 9.0882 | 2.8368 | 8.8466 | 2.7896 | BD | na | BD | na | 4.7705 | 1.5868 | BD | na | BD | na | BD | na | BD | na | 3.3213 | 1.3233 | BD | na | BD | na | BD | na | BD | na
Oleic acid (M) | 12.8925 | 3.5005 | BD | na | 36.3225 | 8.4094 | BD | na | BD | na | 11.4432 | 3.4649 | 6.5519 | 2.5074 | 45.471 | 10.817 | BD | na | 42.1498 | 9.3191 | BD | na | BD | na | BD | na | BD | na | 41.244 | 9.1383 | 6.7331 | 2.297 | 46.5882 | 10.2051 | 18.8104 | 4.4255 | 25.3925 | 5.7324
Linoleic acid (M) | 7.186 | 2.1459 | BD | na | 28.2609 | 6.8443 | BD | na | BD | na | 7.186 | 2.6718 | BD | na | 26.9928 | 7.2039 | BD | na | 46.1655 | 9.8736 | BD | na | BD | na | BD | na | BD | na | 14.6739 | 3.6077 | 3.9251 | 1.5311 | 33.8768 | 7.4219 | 18.6292 | 4.1684 | 22.0109 | 4.8386
Eicosanoic acid (M) | 6.7029 | 1.7557 | 11.4734 | 2.6718 | 14.6739 | 3.2985 | 6.7935 | 1.7727 | 17.4366 | 4.0518 | 23.913 | 5.1263 | 16.3647 | 3.6315 | 20.0634 | 4.5654 | 6.4614 | 1.7104 | 14.4626 | 3.257 | 8.0314 | 2.0072 | 5.4348 | 1.52 | 4.7705 | 1.3991 | 4.5894 | 1.3665 | 6.0386 | 1.6316 | 6.9444 | 1.8011 | 5.3744 | 1.5089 | 5.6461 | 1.4483 | 6.7935 | 1.6597
Heneicosanoic acid* | 1.3587 | 0.68628 | 3.0495 | 0.85827 | 4.8611 | 1.1445 | 1.8418 | 0.70735 | 6.1594 | 1.5291 | 5.163 | 1.1962 | 4.9517 | 1.1599 | 7.1558 | 1.6937 | 2.2947 | 0.75847 | 4.0459 | 1.0537 | 2.4457 | 0.81242 | 1.1473 | 0.66724 | 1.2379 | 0.67514 | 1.4191 | 0.6921 | 1.4493 | 0.69507 | 1.6304 | 0.71371 | 1.3587 | 0.68628 | 1.4191 | 0.67786 | 1.8116 | 0.71695
Docosanoic acid (M) | 10.93 | 2.5191 | 18.6594 | 4.0131 | 29.2874 | 6.1228 | 10.8394 | 2.4781 | 31.6576 | 6.7459 | 33.6957 | 7.0007 | 26.6304 | 5.5943 | 40.7156 | 8.5445 | 12.3188 | 2.766 | 25.5133 | 5.3962 | 11.564 | 2.6424 | 5.8273 | 1.5478 | 5.1932 | 1.4319 | 6.3406 | 1.6428 | 5.8575 | 1.5533 | 7.1558 | 1.7954 | 5.9783 | 1.5756 | 6.2802 | 1.5145 | 7.5181 | 1.7443
Tricosanoic acid* | 3.1703 | 0.94791 | 4.8913 | 1.2119 | 8.7862 | 1.9268 | 3.2609 | 0.94327 | 9.7373 | 2.2468 | 8.8768 | 1.944 | 8.6051 | 1.8924 | 13.2246 | 2.8988 | 4.1365 | 1.0836 | 7.5181 | 1.7104 | 4.0459 | 1.0886 | 2.1739 | 0.80439 | 1.7512 | 0.75122 | 2.3551 | 0.82877 | 2.0229 | 0.78477 | 2.5664 | 0.85827 | 2.2947 | 0.82055 | 2.1739 | 0.77711 | 2.9287 | 0.87999
Tetracosanoic acid (M) | 12.0471 | 2.8191 | 18.6896 | 4.2102 | 35.1147 | 7.4761 | 10.2959 | 2.5602 | 37.3188 | 8.1573 | 31.5217 | 6.7601 | 31.25 | 6.706 | 52.4909 | 11.1781 | 14.7041 | 3.4232 | 33.6051 | 7.091 | 14.7041 | 3.3401 | 8.2428 | 2.0822 | 7.337 | 1.9096 | 8.8164 | 2.1923 | 6.6123 | 1.7727 | 11.1111 | 2.6365 | 6.6123 | 1.7727 | 8.6353 | 2.0534 | 8.3031 | 1.99
Pentacosanoic acid* | 1.57 | 0.72687 | 3.0495 | 0.94791 | 3.9855 | 1.0987 | 1.6606 | 0.75483 | 4.1667 | 1.36 | 4.8611 | 1.2487 | 4.7403 | 1.2276 | 5.4801 | 1.5658 | 2.3853 | 0.84973 | 4.7101 | 1.1962 | 2.3853 | 0.82877 | 1.4795 | 0.71695 | 1.2681 | 0.69507 | 1.5399 | 0.72353 | 1.2379 | 0.6921 | 1.9022 | 0.76584 | 1.5097 | 0.72022 | 1.6304 | 0.73366 | 1.8418 | 0.75847
Hexacosanoic acid* | 6.5217 | 1.5812 | 8.1522 | 1.9383 | 14.3116 | 3.1324 | 5.0121 | 1.3557 | 13.8587 | 3.2188 | 13.6775 | 3.0081 | 14.4928 | 3.168 | 22.6902 | 4.9388 | 6.8539 | 1.6935 | 15.2778 | 3.2688 | 6.9746 | 1.6653 | 3.744 | 1.0886 | 3.6232 | 1.0686 | 4.6196 | 1.2382 | 3.0797 | 0.98087 | 4.4988 | 1.2171 | 3.2911 | 1.0145 | 3.9251 | 1.0886 | 4.3478 | 1.1599
Heptacosanoic acid* | 1.5097 | 0.67514 | 2.2645 | 0.75483 | 3.0797 | 0.86258 | 1.7814 | 0.70113 | 3.3967 | 1.1322 | 3.442 | 0.91573 | 3.8647 | 0.98087 | 3.9402 | 1.2006 | 2.2041 | 0.74765 | 3.4722 | 0.92027 | 2.3551 | 0.76584 | 1.5097 | 0.67514 | 1.1775 | 0.64816 | 1.5399 | 0.67786 | 1.2681 | 0.65496 | 1.4493 | 0.66983 | 1.4493 | 0.66983 | 1.4191 | 0.66724 | 1.7814 | 0.70113
Octacosanoic acid (M) | 4.2271 | 1.1496 | 6.3708 | 1.5256 | 12.0169 | 2.6013 | 4.9215 | 1.2646 | 12.183 | 2.7786 | 13.9795 | 2.9844 | 11.5338 | 2.5074 | 17.346 | 3.7699 | 6.3708 | 1.5256 | 12.2886 | 2.66 | 4.7705 | 1.2434 | 2.7778 | 0.91573 | 2.1437 | 0.82465 | 3.1099 | 0.96666 | 1.9324 | 0.79646 | 3.442 | 1.0194 | 2.657 | 0.89771 | 3.5024 | 0.92484 | 4.0157 | 1.0048
Nonacosanoic acid* | 1.8418 | 0.70735 | 2.2343 | 0.75122 | 3.7742 | 0.96666 | 1.7814 | 0.70113 | 3.8043 | 1.183 | 3.1401 | 0.87124 | 4.2572 | 1.0438 | 4.6196 | 1.2939 | 2.2947 | 0.75847 | 3.3213 | 0.89771 | 2.1437 | 0.74059 | 1.57 | 0.68063 | 1.3587 | 0.66219 | 1.5399 | 0.67786 | 1.2983 | 0.65733 | BD | na | 1.6304 | 0.68628 | 1.4191 | 0.66724 | 1.7814 | 0.70113
Triacontanoic acid (M) | 4.5894 | 1.0987 | 5.7669 | 1.3019 | 11.564 | 2.3903 | 4.7705 | 1.1291 | 12.4547 | 2.6505 | 10.1751 | 2.1227 | 10.0242 | 2.0938 | 16.1685 | 3.3582 | 5.8273 | 1.3126 | 10.8696 | 2.2562 | 5.1932 | 1.2014 | 3.5024 | 0.92484 | 2.6268 | 0.80041 | 3.5326 | 0.92942 | 2.3853 | 0.76957 | 3.3213 | 0.89771 | 3.3816 | 0.90668 | 3.1401 | 0.87124 | 3.7742 | 0.96666
Phthalic acid (M) | 4.4384 | 1.2329 | 7.7295 | 1.9785 | 5.7971 | 1.6147 | 5.9783 | 1.6484 | 6.4764 | 2.0173 | 23.4601 | 5.0663 | 40.6401 | 8.4877 | 12.6359 | 3.1667 | 14.9155 | 3.3757 | 21.7391 | 4.5751 | 10.8998 | 2.443 | 6.099 | 1.5311 | 5.6461 | 1.4483 | 5.3442 | 1.3937 | 3.8949 | 1.1394 | 8.5145 | 1.9842 | 17.4215 | 3.7208 | 8.0314 | 1.8924 | 7.82 | 1.8524
Isophthalic acid (M) | 0.33213 | 0.61062 | 0.72464 | 0.62101 | 0.9058 | 0.63045 | 0.78502 | 0.62394 | 0.72464 | 0.91732 | 6.0688 | 1.3557 | 4.0761 | 1.0145 | 2.0833 | 0.99704 | 1.0568 | 0.63978 | 1.3285 | 0.66983 | 0.9058 | 0.63781 | 0.60386 | 0.62101 | 0.60386 | 0.62101 | 0.63406 | 0.62245 | 1.0568 | 0.64816 | 0.69444 | 0.62549 | 1.0266 | 0.64599 | 0.69444 | 0.61963 | 0.63406 | 0.61704
Terephthalic acid (M) | 7.4577 | 1.6935 | 7.2766 | 1.6597 | 15.1268 | 3.1739 | 3.1401 | 0.93864 | 8.4239 | 2.0335 | 6.7029 | 1.5533 | 47.1618 | 9.5421 | 28.442 | 5.8943 | 8.0616 | 1.8068 | 33.6353 | 6.8443 | 12.6812 | 2.6953 | 4.1969 | 1.1088 | 12.8321 | 2.7248 | 9.843 | 2.1459 | 8.0314 | 1.8011 | 7.7295 | 1.7443 | 17.7536 | 3.691 | 12.1981 | 2.5778 | 14.4324 | 3.014
1,2,3-Benzenetricarboxylic acid (M) | 0.060386 | 0.60399 | 0.27174 | 0.60631 | 0.21135 | 0.60534 | 0.030193 | 0.60389 | 0.13587 | 0.9062 | 0.21135 | 0.60534 | 1.57 | 0.68063 | 1.6304 | 0.96271 | 0.48309 | 0.61155 | BD | na | 0.15097 | 0.60462 | 0.09058 | 0.60414 | 0.12077 | 0.60435 | 0.060386 | 0.60399 | 0.12077 | 0.60435 | 0.060386 | 0.60399 | 0.21135 | 0.60534 | 0.24155 | 0.60579 | 0.24155 | 0.60579
1,2,4,5-Benzenetetracarboxylic aci | BD | na | BD | na | BD | na | BD | na | BD | na | BD | na | 0.36232 | 0.6082 | 0.63406 | 0.91463 | BD | na | BD | na | BD | na | BD | na | BD | na | BD | na | BD | na | BD | na | BD | na | BD | na | BD | na
Methylphthalic acid (M) | 0.39251 | 0.60895 | 1.5399 |  | 0.69444 | 0.61963 | 0.4529 | 0.61062 | 1.5851 | 0.95967 | 0.78502 | 0.62394 | 5.7971 | 1.3073 | 2.808 | 1.0658 | 3.0495 | 0.85827 | 1.1775 | 0.64816 | 1.0568 | 0.63978 | 1.0266 | 0.63781 | 0.84541 | 0.62709 | 0.63406 | 0.61704 | 0.4529 | 0.61062 | 0.30193 | 0.60688 | 1.087 | 0.6418 | 1.0266 | 0.63781 | 1.6002 | 0.68344
Levoglucosan | 236.7754 | 49.2245 | 198.6111 | 41.3491 | 217.2101 | 45.0323 | 154.68 | 32.6823 | 1115.2174 | 225.0012 | 109.7222 | 41.152 | 94.0217 | 20.8802 | 1030.0725 | 207.9872 | 31.2176 |  | 162.1981 | 34.4703 | 156.1594 | 33.2819 | 92.1498 | 20.8224 | 124.4565 | 27.071 | 140.7609 | 30.2584 | 120.1389 | 26.2299 | 123.2488 | 24.2833 | 73.5507 | 17.2961 | 525.785 | 107.4162 | 370.2899 | 76.3864
Cholesterol | BD | na | BD | na | 5.0725 | 1.6066 | BD | na | BD | na | BD | na | BD | na | BD | na | BD | na | BD | na | BD | na | BD | na | BD | na | BD | na | BD | na | BD | na | BD | na | 1.6002 | 0.62874 | 2.7476 | 0.85802
Stigmasterol | BD | na | BD | na | 9.1787 | 1.999 | BD | na | BD | na | 1.2077 | 0.40571 | BD | na | 2.2192 | 0.68989 | BD | na | BD | na | BD | na | 3.5326 | 1.0572 | BD | na | BD | na | BD | na | BD | na | 2.2947 | 0.80974 | 0.57367 | 0.21948 | 10.2053 | 2.1439
b-Sitosterol | BD | na | BD | na | 84.2391 | 17.5604 | BD | na | 8.3786 | 2.7449 | 6.3708 | 1.9869 | BD | na | 26.8569 | 6.4404 | BD | na | BD | na | BD | na | 29.4686 | 8.0496 | BD | na | BD | na | BD | na | BD | na | BD | na | 2.2947 | 0.79767 | 95.8031 | 19.4988
Campesterol | BD | na | BD | na | 5.7065 | 1.19 | BD | na | 0.95109 | 0.26656 | 1.3285 | 0.31546 | 0.69444 | 0.18962 | 3.2609 | 0.72605 | BD | na | 1.1775 | 0.33951 | BD | na | 1.1171 | 0.32748 | BD | na | BD | na | 1.1171 | 0.32748 | 0.75483 | 0.25541 | 2.1135 | 0.52623 | 1.2983 | 0.26141 | 5.4046 | 1.0813
Cholestanol / Coprostanol | BD | na | 0.060386 | 0.032519 | 0.21135 | 0.051946 | 0.24155 | 0.056968 | BD | na | 0.30193 | 0.067514 | BD | na | BD | na | BD | na | BD | na | BD | na | BD | na | BD | na | BD | na | BD | na | BD | na | BD | na | BD | na | BD | na
Stigmastanol | 0.66425 | 0.13624 | 0.48309 | 0.10123 | 1.9626 | 0.39367 | 0.36232 | 0.078502 | 1.5851 | 0.32025 | 0.99638 | 0.20155 | 0.48309 | 0.10123 | 2.1739 | 0.43714 | 0.36232 | 0.078502 | 0.99638 | 0.20155 | 0.54348 | 0.11281 | 0.69444 | 0.14213 | 0.57367 | 0.11864 | 0.60386 | 0.12449 | 0.57367 | 0.11864 | 0.54348 | 0.11281 | 0.8756 | 0.1777 | 0.48309 | 0.10123 | 1.5399 | 0.30945
Monopalmitin | 1.7512 | 0.55638 | BD | na | 5.5254 | 1.2081 | BD | na | 4.529 | 1.0607 | BD | na | BD | na | BD | na | BD | na | BD | na | 1.2983 | 0.46596 | 3.9855 | 1.0029 | 2.5664 | 0.71923 | 1.9626 | 0.59859 | 3.8647 | 0.97873 | BD | na | 2.6268 | 0.7313 | 5.0725 | 1.1055 | 7.0954 | 1.51
Monoolein | BD | na | BD | na | 3.9251 | 0.7856 | BD | na | BD | na | BD | na | BD | na | BD | na | BD | na | BD | na | BD | na | 0.72464 | 0.27341 | BD | na | BD | na | 2.506 | 0.62874 | BD | na | 1.9324 | 0.51417 | 1.5399 | 0.30945 | 3.8949 | 0.77957
Monostearin | BD | na | BD | na | 3.744 | 0.83388 | BD | na | 1.8116 | 0.49122 | BD | na | BD | na | BD | na | BD | na | BD | na | BD | na | 2.3551 | 0.6951 | BD | na | BD | na | 1.5399 | 0.53226 | BD | na | BD | na | 2.7174 | 0.64081 | 4.2572 | 0.94855