Description of PRELIMINARY DMA data files(T0 site):

DMA file name:  DMA_yymmdd_r01.dat

yymmdd:  date

Column 1: Local time (Hours)

Column 2: RH inside DMA, unit: %

Column 3: T inside DMA, unit: degree C

Column 4-32: Size distribution (dN/dlog10Dp) at 29 sizes, unit: cm-3. The sizes of the channels are given in a separate file "Dp(nm).dat"

Dp(nm).dat:

Particle diameters of 29 size bins, unit: nm

Note:

- Missing value is replaced with NaN

- The size distribution is at ambient pressure and temperature inside the DMA, NOT adjusted to STP.

Contact:

Jian Wang, Brookhaven National Laboratory

jian@bnl.gov